## Plants
Name | Installed Capacity | Nominal Capacity | Fuel Type | MWh | Efficiency | LHV | Under Construction | Units | Location | Owner | Province | PPA with Eskom? | IPP Programme | Years comissioned, first to last unit | Notes
Arnot | 2220 | 2100 | Coal |  | 0.356 |  | 0 | 6 |  | Eskom
Camden | 1561 | 1481 | Coal |  |  |  | 0 | 6 |  | Eskom
Duvha | 3000 | 2875 | Coal |  | 0.376 |  | 0 | 2 |  | Eskom
Grootvlei | 1180 | 570 | Coal |  | 0.329 |  | 0 | 5 |  | Eskom
Hendrina | 1666 | 1041 | Coal |  | 0.342 |  | 0 | 6 |  | Eskom
Kendal | 4116 | 3840 | Coal |  | 0.353 |  | 0 | 4 |  | Eskom
Komati | 990 | 0 | Coal |  | 0 |  | 0 | 2 |  | Eskom
Kriel | 2790 | 2640 | Coal |  | 0.3499 |  | 0 | 6 |  | Eskom
Kuslie | 3995 | 3600 | Coal |  |  |  | 800 |  |  | Eskom
Lethabo | 3708 | 3558 | Coal |  |  | 15.5 |  |  |  | Eskom
Majuba | 4110 | 3807 | Coal | [6 empty] | Eskom
Matimba | 3990 | 3690 | Coal | [6 empty] | Eskom
Matla | 3600 | 3450 | Coal | [6 empty] | Eskom
Medupi | 4760 | 3600 | Coal | [6 empty] | Eskom
Tutuka | 3654 | 2925 | Coal |  | 0.38 |  |  |  |  | Eskom
Koeberg | 1934 | 1854 | Nuclear | [6 empty] | Eskom
Acacia | 171 | 171 | Gas/liquid fuel | [6 empty] | Eskom
Ankerlig | 1338 | 1327 | Gas/liquid fuel | [6 empty] | Eskom
Gourikwa | 746 | 740 | Gas/liquid fuel | [6 empty] | Eskom
Port Rex | 171 | 171 | Gas/liquid fuel | [6 empty] | Eskom
Drakensburg | 1000 | 1000 | Pumped storage | [6 empty] | Eskom
Ingula | 1332 | 1324 | Pumped storage | [6 empty] | Eskom
Palmiet | 400 | 400 | Pumped storage | [6 empty] | Eskom
Gariep | 360 | 360 | Hydro | [6 empty] | Eskom
Vanderkloof | 240 | 240 | Hydro | [6 empty] | Eskom
Scatec Kenhardt Solar Power Complex Battery | 150 | 150 | Battery Storage | [6 empty] | Scatec ASA |  | Yes |  |  | Develop by Scatec ASA (Norway) and local investment partners
Scatec Kenhardt Solar Power Complex | 540 | 540 | Solar | [6 empty] | Scatec ASA |  | Yes |  |  | Develop by Scatec ASA (Norway) and local investment partners
Solar Capital De Aar Project | 175 | 175 | Solar | [6 empty] | Solar Capital
Kaxu Solar One | 100 | 100 | CSP | [6 empty] | Atlantica/IDC/Kaxu Tust |  |  |  |  | Atlantica Sustainable Infrastructure (51%), the state-owned Industrial Development Corporation of South Africa (IDC) (29%), and the KaXu Community Trust (20%)
Kathu Solar Park | 100 | 100 | CSP | [6 empty] | Engie
Amakhala emoyeni wind farm | 134 | 134 | Wind | [6 empty] | Exxaro/Tata
Kelvin | 600 | 420 | Coal |  |  |  |  | 7 |  | Anergi |  |  |  | 1956
Umsinde Emoyeni Wind Farm | 144 | 144 | Wind | [6 empty] | Anthem |  |  |  |  | Umsinde Emoyeni is a 144MW C&I off-take wind energy facility comprising 32 Vestas V163-4.5MW wind turbines at a hub-height of 96m above ground level, each with a rotor diameter of 163m.
Khangela Emoyeni Wind Farm | 144 | 144 | Wind | [6 empty] | Anthem
Ishwati Emoyeni Wind Farm | 144 | 144 | Wind | [6 empty] | Anthem
Msenge Emoyeni Wind Farm | 72 | 72 | Wind | [6 empty] | Anthem
Umoya Wind Energy Facility | 66.6 | 66.6 | Wind | [6 empty] | Anthem
Cookhouse Wind Farm | 138.6 | 138.6 | Wind | [6 empty] | Anthem |  |  |  |  | Cookhouse is a 138.6 MW REIPPPP round one wind energy facility comprising 66 Suzlon S88 2.1MW turbines, each at a hub-height of 79m above ground level and a rotor diameter of 88m.
Castle Wind Farm | 96 | 96 | Wind | [6 empty] | Anthem
Greefspan Solar PV | 11 | 11 | Wind | [6 empty] | Anthem
Waterloo Solar PV | 86.25 | 86.25 | Solar | [6 empty] | Anthem
Vredendal Solar PV | 10.5 | 10.5 | Solar | [6 empty] | Anthem
Herbert Solar PV | 22.06 | 22.06 | Solar | [6 empty] | Anthem
Aurora Solar PV | 10.5 | 10.5 | Solar | [6 empty] | Anthem
Zeerust Solar PV | 86.25 | 86.25 | Solar | [6 empty] | Anthem
RESIA Solar PV | 80.65 | 80.65 | Solar | [6 empty] | Anthem
Matla A Bokone Solar PV | 86.25 | 86.25 | Solar | [6 empty] | Anthem
De Wildt Solar PV | 57.51 | 57.51 | Solar | [6 empty] | Anthem
Bokamoso Solar PV | 78.07 | 78.07 | Solar | [6 empty] | Anthem
Boikanyo Solar PV | 63.22 | 63.22 | Solar | [6 empty] | Anthem
Coega PowerShip | 450 | 450 | OCGT Gas | [6 empty] | . | Eastern |  | RMIPPPP |  | Awarded
Mulilo Coega Gas to Power Plant | 197.76 | 197.76 | OCGT Gas | [6 empty] | . | Eastern |  | RMIPPPP |  | Awarded
Dorper Wind Farm | 100 | 100 | Wind | [6 empty] | . | Eastern |  | RE IPP 1 |  | Operational
MetroWind Van Stadens Wind Farm | 26.19 | 26.19 | Wind | [6 empty] | . | Eastern |  | RE IPP 1 |  | Operational
Red Cap Kouga Wind Farm - Oyster Bay | 80 | 80 | Wind | [6 empty] | . | Eastern |  | RE IPP 1 |  | Operational
Jeffreys Bay | 138 | 138 | Wind | [6 empty] | . | Eastern |  | RE IPP 1 |  | Operational
Grassridge Wind Farm | 60 | 60 | Wind | [6 empty] | . | Eastern |  | RE IPP 2 |  | Operational
Tsitsikamma Community Wind Farm | 94.8 | 94.8 | Wind | [6 empty] | . | Eastern |  | RE IPP 2 |  | Operational
Red Cap - Gibson Bay | 110 | 110 | Wind | [6 empty] | . | Eastern |  | RE IPP 3 |  | Operational
Oyster Bay Wind Farm | 140 | 140 | Wind | [6 empty] | . | Eastern |  | RE IPP 4 |  | Operational
Wolf Wind Farm | 84 | 84 | Wind | [6 empty] | . | Eastern |  | RE IPP 5 |  | Awarded
Dassiesridge WEF | 75 | 75 | Wind | [6 empty] | . | Eastern |  | RMIPPPP |  | Awarded
Impofu East Wind Farm (Pty) Ltd | 111 | 111 | Wind | [6 empty] | . | Eastern |  | BQ |  | BQ
Impofu North Wind Farm | 111 | 111 | Wind | [6 empty] | . | Eastern |  | BQ |  | BQ
Impofu West Wind Farm (Pty) Ltd | 111 | 111 | Wind | [6 empty] | . | Eastern |  | BQ |  | BQ
Chaba Wind | 20.6 | 20.6 | Wind | [6 empty] | . | Eastern |  | RE IPP 2 |  | Operational
Wesley-Ciskei Wind Project | 32.7 | 32.7 | Wind | [6 empty] | . | Eastern |  | RE IPP 4B |  | Operational
Cookhouse | 140 | 140 | Wind | [6 empty] | . | Eastern |  | RE IPP 1 |  | Operational
Waainek | 23.86 | 23.86 | Wind | [6 empty] | . | Eastern |  | RE IPP 2 |  | Operational
Amakhala Emoyeni (Phase 1) Eastern Cape | 140 | 140 | Wind | [6 empty] | . | Eastern |  | RE IPP 2 |  | Operational
Nojoli Wind Farm | 87 | 87 | Wind | [6 empty] | . | Eastern |  | RE IPP 3 |  | Operational
Golden Valley Wind | 117.72 | 117.72 | Wind | [6 empty] | . | Eastern |  | RE IPP 4 |  | Operational
Nxuba Wind Farm | 138.9 | 138.9 | Wind | [6 empty] | . | Eastern |  | RE IPP 4 |  | Operational
Braklaagte PV | 75 | 75 | PV | [6 empty] | . |  |  | RE IPP 5 |  | Awarded
DPT Henneman Solar Farm | 20 | 20 | PV | [6 empty] | . |  |  | RfBQ |  | BQ
GOOD HOPE 2 SOLAR PARK 200MW | 200 | 200 | PV | [6 empty] | . |  |  | RE IPP 6 |  | Awarded
GROOTSPRUIT SOLAR PROJECT | 75 | 75 | PV | [6 empty] | . |  |  | RE IPP 5 |  | Awarded
Kentanie PV | 75 | 75 | PV | [6 empty] | . |  |  | RE IPP 5 |  | Awarded
Khauta South Solar PV Facility (RF) (Pty) Ltd | 240 | 240 | PV | [6 empty] | . |  |  | BQ |  | BQ
Klipfontein PV | 75 | 75 | PV | [6 empty] | . |  |  | RE IPP 5 |  | Awarded
Klipfontein PV 2 | 75 | 75 | PV | [6 empty] | . |  |  | RE IPP 5 |  | Awarded
Leliehoek PV | 75 | 75 | PV | [6 empty] | . |  |  | RE IPP 5 |  | Awarded
Letsatsi Power Company | 64 | 64 | PV | [6 empty] | . |  |  | RE IPP 1 |  | Operational
Ngonyama Solar | 240 | 240 | PV | [6 empty] | . |  |  | RE IPP 6 |  | Awarded
SANNASPOS SOLAR PROJECT | 75 | 75 | PV | [6 empty] | . |  |  | RE IPP 5 |  | Awarded
Sonneblom Solar Power Plant (RF) (Pty) Ltd | 45 | 45 | PV | [6 empty] | . |  |  | BQ |  | BQ
Sonvanger Solar Power Plant | 142 | 142 | PV | [6 empty] | . |  |  | RfBQ |  | BQ
Springbok Solar Power Plant (RF) (Pty) Ltd | 150 | 150 | PV | [6 empty] | . |  |  | RfBQ |  | BQ
Virginia 3 Solar Park | 240 | 240 | PV | [6 empty] | . |  |  | RE IPP 6 |  | Awarded